# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

# Contract title: Procurement of a Digital Mammography Upgrade to Tomosynthesis / 3D Option 	p 1 /…

Publication reference: RISE-UP – TD5

Columns 1-2 should be completed by the contracting authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item number | 2. Specifications required | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
|  | Digital Mammography Upgrade to Tomosynthesis / 3D Option QUANTITY: 1 piece TOMOSYNTHESIS for the Amulet Innovality mammography system, including: - TOMO Kit for the existing system upgrade; - TOMO Excellence software for tomosynthesis image acquisition; - Two-mode tomosynthesis: Standard mode with a ±7.5º angle and High-Resolution mode with a ±20º scanning angle; - TOMO S-VIEW SOFTWARE: Program for generating 2D images through the synthesis of tomosynthesis data; - TOMO FACE GUARD: Fixed face shield for patient protection during imaging. |  |  |  |